Highlights

- A portable tropicalized water filter with a 5liter tank and a capacity of 0.75 liter/hour for domestic use has been developed and evaluated.

- The adjusted filter media of oyster shell powder made it possible to obtain a strong reduction in turbidity and a total reduction of enterococcal bacteria

- The physicochemical and biological parameters of the quality of filtered water are within the admissible limit for drinking water

- The filter designed is an alternative to access to quality water at a lower cost for poor and vulnerable populations in sub-Saharan Africa and Madagascar