Supplementary document

Luminex Protocol

Screening for specific IgG was carried out using a serological Luminex multiplex bead assay as described previously [1]. Briefly, test seruawere obtained by eluting dried blood spot (DBS) samples in 200uL of luminex buffer B (1xPBS, 0.05% Tween, 0.5% BSA, 0.02% sodium azide, 0.1% casein, 0.5% polyvinyl alcohol (PVA), 0.5% polyvinyl pyrrolidone (PVP), Escherichia coli lysate 15.25ug/mL) to achieve a 1:200 dilution. The chemical coupling of antigen to MagPlex© COOH microspheres, or beads (Luminex Corp., Austin TX), were optimized as previously described and coupled according to the protocol described by Luminex(42) (Wu et al., 2020; Luminex Corp., 2018). For the assay procedure, 8 µL of antigen-coupled beads per analyte were added to 5 mL of buffer A (PBS, 0.5% BSA, 0.05% Tween-20, 0.02% NaN3). 50 µL of this bead mixture was then added to each well of a 96-well mylar plate (Bio-Rad 171025001), equivalent to approximately 1000 beads per analyte per well. Plates were washed once with PBS/T (PBS + 0.05% Tween-20) by placing the plate on a magnetic separator (CN-0269-01) for 2 minutes, inverting it over a waste receptacle to expel liquid from the wells, and adding 100 µL of PBS/T to all wells. The PBS/T was removed using the magnetic separator and 50 μL of diluted sample, positive controls and negative controls were added to the plate and incubated on a shaker at 600 RPM at room temperature for 90 minutes. Dilution buffer was added to two wells instead of sample or control to measure background fluorescence. Control consisted of a curve of poole hyperimmune individuals (CP3), 1st Pf international reference standard diluted 1:200 (NIBSC, 10/198), and four European malaria-naïve individuals (PHE England, 2016). Plates were washed three times with PBS/T and 50 µL of goat anti-human IgG-PE detection antibody (Jackson immunoresearch, 109-116-098) diluted 1:200 in buffer A was added to each plate well and incubated on a shaker for 90 minutes at room temperature at 600 RPM. Plates were washed three times as described previously, 50 μl of buffer A was added to each plate well, and incubated on a shaker for 30 minutes to remove any weakly bound antibodies. After a final wash, the beads were resuspended in 100 µL PBS and read using a MAGPIX© bioanalyzer. Median fluorescence intensity (MFI) was recorded for a minimum of 50 beads per anlayte, and background-adjusted by subtracting the mean MFI value of blank wells per analyte. Background-corrected data, or MFI-bg, were normalized using CP3 standard curves on each plate prior to statistical analysis [1].

Ethical Approval and Consent for Participation

The study was approved by the Senegalese Ethics Committee (SEN 17_49-1) and the Ministry of Health. Participants were enrolled only after written parental consent had been obtained. Written informed consent was obtained from potential study participants before their enrolment into the study. A positive assent was also obtained in addition to the parental consen from children aged 12 years and above. Particiption was voluntary and participants’ data were stored in secured computer devices.

Availability of Data and Material

All data generated or analysed during this study are included in this manuscript and are available from the corresponding author on reasonable request.

References

Wu L, Hall T, Ssewanyana I, Oulton T, Patterson C, Vasileva H, et al. Optimisation and standardisation of a multiplex immunoassay of diverse Plasmodium falciparum antigens to assess changes in malaria transmission using sero-epidemiology. Wellcome Open Res. 23 avr 2020;4:26.